## Vol.5 ToC
Kolubara Regional Water Supply Scheme
Europe Aid/131619/C/WKS/RS
Volume 5 – Drawings
Vol. No | Contents
5.0 | General
5.A | Raw water pipeline Rovni-Paklje (incl. BP "Paklje")
5.B | Rehabilitation of the pipeline Paklje-WTP Pecina
5.C | 1. Drinking water pipeline Pecina-WT Gajina
2. Water Tank "Gajina"
3. Flow regulation chamber "Gajina"
4. Flow Meter Chamber "Gajina"
5. External pipes "Gajina"
5.D | Drinking water pipeline WT Gajina-Belosevac
5.E | 1. Drinking water pipeline Divci-WT Svetlak
2. Measurment block MB4 "Tabanovic"
5.F | Pumping station “Mionica”
5.G | 1. Water Tank “Svetlak”
2. Flow regulation chamber "Svetlak"
3. Flow Meter Chamber "Svetlak"
4. External pipes "Svetlak"

## Vol. 5.0 General
Kolubara Regional Water Supply Scheme
Europe Aid/131619/C/WKS/RS
Project No. MISP II/ P2009_07
Volume 5.0 - General
Drawing List
ID - Drawing-No. |  |  | Title | Subtitle | Scale
Overviews
A | CV | 00 | General Overview | Overall layout plan of project area | 1 : 50.000

## Vol. 5.A_sec.Rovni-Paklje
Kolubara Regional Water Supply Scheme
Europe Aid/131619/C/WKS/RS
Project No. MISP II/ P2009_07
Volume 5.A - Raw water pipeline Rovni-Paklje
Drawing List
ID - Drawing-No. |  |  | Title | Subtitle | Scale
Layout Plan
A | CV | 01 | Layout Plan 1 | St.0+000,00-0+612.14km | 1 : 1000
A | CV | 02 | Layout Plan 2 | St.0+612.14-1+187.70km | 1 : 1000
A | CV | 03 | Layout Plan 3 | St.1+187.70-1+741.35km | 1 : 1000
A | CV | 04 | Layout Plan 4 | St.1+741.35-2+308.24km | 1 : 1000
A | CV | 05 | Layout Plan 5 | St.2+308.24-2+937.83km | 1 : 1000
A | CV | 06 | Layout Plan 6 | St.2+937.83-3+561.99km | 1 : 1000
A | CV | 07 | Layout Plan 7 | St.3+561.99-4+190.12km | 1 : 1000
A | CV | 07A | Measuremet and control block "Paklje" | General layout | 1:500
Longitudinal Section
A | CV | 08 | Longitudinal Section 1 | St.0+000,00-0+612.14km | 1:100 / 1:1000
A | CV | 09 | Longitudinal Section 2 | St.0+612.14-1+187.70km | 1:100 / 1:1000
A | CV | 10 | Longitudinal Section 3 | St.1+187.70-1+741.35km | 1:100 / 1:1000
A | CV | 11 | Longitudinal Section 4 | St.1+741.35-2+308.24km | 1:100 / 1:1000
A | CV | 12 | Longitudinal Section 5 | St.2+308.24-2+937.83km | 1:100 / 1:1000
A | CV | 13 | Longitudinal Section 6 | St.2+937.83-3+561.99km | 1:100 / 1:1000
A | CV | 14 | Longitudinal Section 7 | St.3+561.99-4+190.12km | 1:100 / 1:1000
Chambers
A | CV | 15 | Air Valve Chamber | Layouts and sections | 1 : 50
A | CV | 16 | Double Washout chamber DN150 | Layouts and sections | 1 : 50
A | CV | 17 | Washout Chamber DN150 | Layouts and sections | 1 : 50
A | CV | 18 | Washout Chamber "Paklje1" DN400 | Layouts and sections | 1 : 50
A | CV | 18A | Regulating valve chamber "Paklje" | Layouts and sections | 1 : 50
A | CV | 18B | Flow meter chamber "Paklje" | Layouts and sections | 1 : 50
Crossings
A | CV | 20 | Crossing under Jablanica river | St.0+176.51-0+212.50km | 1 : 200
A | CV | 21 | Crossing under Jablanica river | St.3+791.39-3+814.37km | 1 : 200
A | CV | 22 | Crossing under the road Valjevo-B.Basta | st.0+352.81-0+358.52m | 1 : 200
A | CV | 23 | Crossing under the road Valjevo-B.Basta | st.1+554.53-1+560.58m | 1 : 200
A | CV | 24 | Crossing under the road Valjevo-B.Basta | st.2+042.31-2+049.62m | 1 : 200
A | CV | 25 | Crossing under the road Valjevo-B.Basta | st.2+882.70-2+890.22m | 1 : 200
A | CV | 26 | Crossing under the road Valjevo-B.Basta | st.3+808.03-3+821.07m | 1 : 200
Typical details
A | CV | 27 | Typical Trench Section |  | -
Reinforcement drawings
A | ST | 01 | Air Valve Chamber | Reinforcement Plan | 1 : 25
A | ST | 02 | Double Washout chamber DN150 | Reinforcement Plan | 1 : 25
A | ST | 03 | Washout Chamber DN150 | Reinforcement Plan | 1 : 25
A | ST | 04 | Washout Chamber "Paklje1" DN400 | Reinforcement Plan | 1 : 25
A | ST | 05 | Crossing under Jablanica river | Reinforcement Plan | 1 : 25
Rehabilitation of existing
A | RH | 01 | Air Valve Chamber DN 200 | Layouts and sections | -
A | RH | 02 | Double Washout Chamber DN250 | Layouts and sections | -
A | RH | 03 | Washout Chamber DN300 | Layouts and sections | -
A | RH | 04 | Pressure relief valve Chamber DN200 | Layouts and sections | -

## Vol. 5.B_sec.Pecina-Gajina
Kolubara Regional Water Supply Scheme
Europe Aid/131619/C/WKS/RS
Project No. MISP II/ P2009_07
Volume 5.B - Drinking water pipeline Pecina-WT Gajina
Drawing List
ID - Drawing-No. |  |  | Title | Subtitle | Scale
Overviews
Layout Plan
B | CV | 01 | Layout Plan 1 | St.0+000,00-0+566.90km | 1 : 1000
B | CV | 02 | Layout Plan 2 | St.0+566.90-1+212.01km | 1 : 1000
B | CV | 03 | Layout Plan 3 | St.1+212.01-1+792.96 | 1 : 1000
B | CV | 04 | Layout Plan 4 | St.1+792.96-2+412.13 | 1 : 1000
B | CV | 05 | Layout Plan 5 | St.2+412.13-3+015.27 | 1 : 1000
B | CV | 06 | Layout Plan 6 | St.3+015.27-3+552.52 | 1 : 1000
B | CV | 07 | Layout Plan 7 | St.3+522.52-4+120.41 | 1 : 1000
Longitudinal Section
B | CV | 08 | Longitudinal Section 1 | St.0+000,00-0+566.90km | 1:100 / 1:1000
B | CV | 09 | Longitudinal Section 2 | St.0+566.90-1+212.01km | 1:100 / 1:1000
B | CV | 10 | Longitudinal Section 3 | St.1+212.01-1+792.96 | 1:100 / 1:1000
B | CV | 11 | Longitudinal Section 4 | St.1+792.96-2+412.13 | 1:100 / 1:1000
B | CV | 12 | Longitudinal Section 5 | St.2+412.13-3+015.27 | 1:100 / 1:1000
B | CV | 13 | Longitudinal Section 6 | St.3+015.27-3+552.52 | 1:100 / 1:1000
B | CV | 14 | Longitudinal Section 7 | St.3+522.52-4+120.41 | 1:100 / 1:1000
Chambers
B | CV | 15 | Connection to exsisting pipeline T1 | Layouts and sections | 1 : 50
B | CV | 16 | Air Valve Chamber | Layouts and sections | 1 : 50
B | CV | 17 | Double Washout Chamber DN150 | Layouts and sections | 1 : 50
B | CV | 18 | Valve Chamber and Washout | Layouts and sections | 1 : 50
Crossings
B | CV | 19 | Crossing under Kolubara river | st.2+247.61-2+287.61 | 1 : 200
B | CV | 20 | Thrust blocks for laying the pipeline along Kolubara river | st.0+000.00-2+196.52 | 1 : 200
Typical details
B | CV | 21 | Typical Trench Section |  | -
Reinforcement drawings
B | ST | 01 | Air Valve Chamber | Reinforcement Plan | 1 : 25
B | ST | 02 | Double Washout Chamber DN150 | Reinforcement Plan | 1 : 25
B | ST | 03 | Valve Chamber and Washout | Reinforcement Plan | 1 : 25
B | ST | 04 | Laying the pipeline along Kolubara river and thrust blocks | Reinforcement Plan | 1 : 25

## Vol. 5.C_WT Gajina
Kolubara Regional Water Supply Scheme
Europe Aid/131619/C/WKS/RS
Project No. MISP II/ P2009_07
Volume 5.C - Water Tank “Gajina”
Drawing List
ID - Drawing-No. |  |  | Title | Subtitle | Scale
Overviews
Architectual
C | CV | 01 | Overall layout 1 |  | 1 : 250
C | CV | 02 | Plan View | elevaton at 229.50 | 1 : 50
C | CV | 03 | Plan View | elevaton at 232.15 | 1 : 50
C | CV | 04 | Plan View | elevaton at 235.50(237.70) | 1 : 50
C | CV | 05 | Section | 1-1 and 2-2 | 1 : 50
C | CV | 06 | Section | 3-3 and 4-4 | 1 : 50
C | CV | 07 | Façade | Front and Side | 1 : 50
C | CV | 10 | Typical Sewer Manhole |  | 1 : 25
Hydro-mechanical
C | CV | 11 | Overall layout 2 |  | 1 : 250
C | CV | 12 | Regulation and measurment block | Mechanical equipment - Plan view | 1 : 50
C | CV | 13 | Regulation and measurment block | Mechanical equipment -Section "A-A" | 1 : 50
C | CV | 15 | Water Tank | Mechanical equipment - Plan view | 1 : 50
C | CV | 16 | Water Tank | Mechanical equipment - Section "A-A" | 1 : 50
C | CV | 17 | Water Tank | Piping scheme | -
Reinforcement drawings
C | ST | 01 | Pos TP1 | Reinforcement Plan and Wall Anchors | 1 : 50
C | ST | 02 | Pos 2 and Pos 3b - Flow meter Chamber | Reinforcement Plan | 1 : 50
C | ST | 03 | Water Tank Walls | Reinforcement Plan | 1 : 50
C | ST | 04 | Valve chamber | Reinforcement Plan | 1 : 50
C | ST | 05 | Regulation Block | Reinforcement Plan | 1 : 50
Electrical drawings
C | EL | 01 | Water Tank Gajina | Site Layout | 1 : 250
C | EL | 02/1 | Water Tank Gajina | Single Line Diagram | NA
C | EL | 02/2 | Water Tank Gajina | Single Line Diagram | NA
C | EL | 02/3 | Water Tank Gajina | Single Line Diagram | NA
C | EL | 02/4 | Water Tank Gajina | Single Line Diagram | NA
C | EL | 03 | Water Tank Gajina | PLC Single Line Diagram | NA
C | EL | 04 | Water Tank Gajina | EQUIPMENT & CABLE TRACES LAYOUT | NA
C | EL | 05 | Water Tank Gajina | General Purpose Installation | NA
C | EL | 06 | Water Tank Gajina | LIGHTENING PROTECTION side view | NA
C | EL | 07 | Water Tank Gajina | Measuring&Distribution Cubicle MRO Layout | NA
C | EL | 08/01 | Water Tank Gajina | Distribution Board RO2 Layout | NA
C | EL | 08/02 | Water Tank Gajina | Distribution Board RO2 Layout | NA

## Vol. 5.D WTGajina-Belosevac
Kolubara Regional Water Supply Scheme
Europe Aid/131619/C/WKS/RS
Project No. MISP II/ P2009_07
Volume 5.D - Drinking water pipeline WT Gajina-Belosevac
Drawing List
ID - Drawing-No. |  |  | Title | Subtitle | Scale
Overviews
Layout Plan
D | CV | 01 | Layout Plan 1 | St.0+000.00-0+511.81km | 1 : 1000
D | CV | 02 | Layout Plan 2 | St.0+511.81-1+180.35km | 1 : 1000
D | CV | 03 | Layout Plan 3 | St.1+180.35-1+877.72km | 1 : 1000
D | CV | 04 | Layout Plan 4 | St.1+877.72-2+429.15km | 1 : 1000
D | CV | 05 | Layout Plan 5 | St.2+429.15-3+029.07km | 1 : 1000
Longitudinal Section
D | CV | 06 | Longitudinal Section 1 | St.0+000.00-0+511.81km | 1:100 / 1:1000
D | CV | 07 | Longitudinal Section 2 | St.0+511.81-1+180.35km | 1:100 / 1:1000
D | CV | 08 | Longitudinal Section 3 | St.1+180.35-1+877.72km | 1:100 / 1:1000
D | CV | 09 | Longitudinal Section 4 | St.1+877.72-2+429.15km | 1:100 / 1:1000
D | CV | 10 | Longitudinal Section 5 | St.2+429.15-3+029.07km | 1:100 / 1:1000
Chambers
D | CV | 11 | Air Valve Chamber | Layouts and sections | 1 : 50
D | CV | 12 | Double Washout chamber DN150 | Layouts and sections | 1 : 50
D | CV | 13 | Washout Chamber DN 300 | Layouts and sections | 1 : 50
D | CV | 14 | Valve Chamber DN 700 | Layouts and sections | 1 : 50
Crossings
D | CV | 15 | Crossing under Kolubara river | st.2+578.15-2+601.46 | 1 : 200
D | CV | 16 | Crossing under Kolubara river | st.2+988.06-3+018.69 | 1 : 200
Typical details
D | CV | 17 | Typical Trench Section |  | -
Reinforcement drawings
D | ST | 01 | Air Valve Chamber | Reinforcement Plan | 1 : 25
D | ST | 02 | Double Washout chamber DN150 | Reinforcement Plan | 1 : 25
D | ST | 03 | Washout Chamber DN 300 | Reinforcement Plan | 1 : 25
D | ST | 04 | Valve Chamber DN 700 | Reinforcement Plan | 1 : 25
D | ST | 05 | Crossing under Kolubara river | Reinforcement Plan | 1 : 25