WORKS TENDER FOR ELECTROSTATIC
PRECIPITATOR IMPROVEMENT –
NIKOLA TESLA THERMAL POWER PLANTS, UNITS A6 and B2, SERBIA

REFERENCE NUMBER:

VOLUME 4
BREAKDOWN OF THE OVERALL PRICE

VOLUME 4
BREAKDOWN OF THE OVERALL PRICE

Section 4.1
Breakdown of the tender price

Subsection 4.1.1	Introduction

Subsection 4.1.2	Breakdown of tender price

4.1.1 Introduction

4.1.1.1 GENERAL

Payment of all items except Section 4.2, Dayworks, will be made on a lump-sum basis in accordance with the Contract Schedule of Payment (Appendix A) detailed in the Conditions of Contract. The item descriptions given in the breakdown in no way limit the Contractor's obligations under the contract to provide all the works described elsewhere.

All items must be priced in Euros.

The tender price must not include taxes, customs and import duties that are levied in accordance with the laws and regulations of the state of the Agency on the production, manufacture, sale and transport of the Contractor's plant, machinery, materials and supplies to be used on or furnished under the contract.

This information should be provided separately.

Notwithstanding any limits which may be implied by the wording of individual items, the Contractor accepts that the amounts entered are works that are complete in every respect.

He will be deemed to have taken full account of all requirements and obligations, whether expressed or implied, covered by all parts of this contract and to have priced the items herein accordingly. The amount must therefore include for all incidental and contingent expenses and risks of every kind necessary to construct, complete and maintain the whole of the works in accordance with the contract. Unless separate items are provided in the breakdown, rates and sums include all costs involved in the various items in the breakdown.

The amounts entered by the Contractor against all items in the breakdown must accurately reflect the cost of carrying out the work described in the contract. All costs, commissions and other charges (unless separately itemised) applicable to the contract as a whole must be spread across all amounts in the breakdown, whereas those applicable to specific sections of the contract are to be spread only over the items to which those sections refer.

The amounts entered in this schedule will be used for calculating payments and interim payments and for valuing variations.

Section 2 includes daywork rates for use when works are to be executed on a daywork basis. Works may not be executed as daywork other than by order of the Agency's representative and in accordance with the terms of the contract.

4.1.1.2. PAYMENTS Daywork

Work carried out on a daywork basis, in accordance with the rates detailed at 4.1.2.2 will be paid for on approval of the daywork sheets.

All rates detailed at 4.1.2.2 shall be fixed and firm until the issue of the final acceptance certificate.

4.1.2 Breakdown of tender price

4.1.2.1 SCHEDULE OF CIVIL, MECHANICAL AND ELECTRICAL WORKS

The Tenderer will provide a detailed breakdown of the Tender Price identifying all major components including design, project management, site establishment, equipment, works by activity, provision of O&M Manuals, documentation, training and other items.

The Beneficiary, Thermo Power Plant Nikola Tesla will deliver the equipment defined as “free issue” in the tables 4.1.2.1.a (Item 2.2.4) and 4.1.2.1.b (Items 2.1.10 and 2.2.4) as per the Detailed Design prepared by the Contractor and as per the contracted Time Schedule.

The Beneficiary’s contractors performing works on the “free issues” and on the items 2.4.1, 2.4.2, 2.4.7 and 2.4.8 for A6 and 2.4.1, 2.4.4, 2.4.7 and 2.4.8 for B2 will be subject to approval of the Contractor, as per the contracted Time Schedule and the Scope of Works.

Table 4.1.2.1.a – Schedule of works for Unit A6

| Item | Description | Unit | Qty | Rate EUR | Amount EUR | Taxes and other duties |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Design |  |  |  |  |  |
| 1.1 | Data collection at site | set |  |  |  |  |
| 1.2 | Ash resistivity measurement | set |  |  |  |  |
| 1.3 | Particles size measurement | set |  |  |  |  |
| 1.4 | Basic Design | set |  |  |  |  |
| 1.5 | Detailed Engineering | set |  |  |  |  |
| 1.6 | Flue gas Computational Fluid Model (CFD) | set |  |  |  |  |
| 1.7 | …….. |  |  |  |  |  |
| 2 | Equipment |  |  |  |  |  |
| 2.1 | Mechanical |  |  |  |  |  |
| 2.1.1 | Inlet/outlet flue gas ducts and nozzles | tn |  |  |  |  |
| 2.1.2 | Flue gas flow distribution screens and guide vanes | set |  |  |  |  |
| 2.1.3 | Steel structure | tn |  |  |  |  |
| 2.1.4 | Casing extension | tn |  |  |  |  |
| 2.1.5 | Platforms, ladders, stairs, etc. | tn |  |  |  |  |
| 2.1.6 | Ash Hoppers | tn |  |  |  |  |
| 2.1.7 | Discharge Electrodes | pcs |  |  |  |  |
| 2.1.8 | Discharge Electrode Frames and supporting steel structure | tn |  |  |  |  |
| 2.1.9 | Discharge electrodes rapping system (incl. motors, gears, shafts, hammers, etc.). | set |  |  |  |  |
| 2.1.10 | Collection Electrodes | pcs |  |  |  |  |
| 2.1.11 | Collection electrodes holding beams, rapping beams, spacers, etc. | tn |  |  |  |  |
| 2.1.12 | Collection electrodes rapping system (incl. motors, gears, shafts, hammers, etc.). | set |  |  |  |  |
| 2.1.13 | Insulators vacuum cleaning system | set |  |  |  |  |
| 2.1.14 | Insulators heating system | set |  |  |  |  |
| 2.1.15 | Ash flap valves | set |  |  |  |  |
| 2.1.16 | All additional mechanical material and equipment to complete the ESP. | set |  |  |  |  |
| 2.2 | Electrical equipment |  |  |  |  |  |
| 2.2.1 | 6,0/0,4 KV Transformer | pcs |  |  |  |  |
| 2.2.2 | 6,0 KV switchgear | set |  |  |  |  |
| 2.2.3 | 0,4 KV switchgear | set |  |  |  |  |
| 2.2.4 | Transformer-Rectifiers: Collection Electrodes: free issue - will be delivered by Beneficiary and installed by Contractor | pcs |  |  |  |  |
| 2.2.5 | HV insulators, bus bars and other related equipment | set |  |  |  |  |
| 2.2.6 | All additional electrical material and equipment to complete the ESP. | set |  |  |  |  |
| 2.3 | I + C Equipment |  |  |  |  |  |
| 2.3.1 | Control equipment cabinets | set |  |  |  |  |
| 2.3.2 | ESP voltage controllers | pcs |  |  |  |  |
| 2.3.3 | Rapping system controller | set |  |  |  |  |
| 2.3.4 | Field Instruments |  |  |  |  |  |
| 2.3.4.1 | Level transmitters | pcs |  |  |  |  |
| 2.3.4.2 | Temperature transmitters | pcs |  |  |  |  |
| 2.3.4.3 | Opacity meters | pcs |  |  |  |  |
| 2.3.5 | All additional I + C material and equipment to complete the ESP. | set |  |  |  |  |
| 2.4 | Erection and Testing Services |  |  |  |  |  |
| 2.4.1 | Dismantling Existing Equipment | Will be performed by the Beneficiary. |  |  |  |  |
| 2.4.2 | Civil works, reallocation of local ash control room | Will be performed by the Beneficiary. |  |  |  |  |
| 2.4.3 | Steel Structure erection | set |  |  |  |  |
| 2.4.4 | I/O ducts, nozzles, distribution screens, baffles, guide vanes, casing, etc., erection | set |  |  |  |  |
| 2.4.5 | Ash hoppers erection | set |  |  |  |  |
| 2.4.6 | Collection / Discharge electrodes, rapping systems, etc. erection | set |  |  |  |  |
| 2.4.7 | Thermal Insulation (materials included) | Will be performed by the Beneficiary |  |  |  |  |
| 2.4.8 | Painting | Will be performed by the Beneficiary |  |  |  |  |
| 2.4.9 | Auxiliary systems (heating, vacuum cleaning, lifting devices, etc.) | set |  |  |  |  |
| 2.4.10 | MV, LV switchgears and transformers installation | set |  |  |  |  |
| 2.4.11 | Control cabinets installation | set |  |  |  |  |
| 2.4.12 | Interface with Unit Main Control System (DCS), (equipment included) | set |  |  |  |  |
| 2.4.13 | MV power cables installation (cables, cable trays and other installation material included) | set |  |  |  |  |
| 2.4.14 | LV power cables installation (cables, cable trays and other installation material included) | set |  |  |  |  |
| 2.4.15 | Control and measurement cables installation. (cables, cable trays and other installation material included) | set |  |  |  |  |
| 2.4.16 | Earthing system installation (cables, cable trays and other installation material included) | set |  |  |  |  |
| 2.4.17 | Refurbishment of the existing systems and equipment which will be reused. | set |  |  |  |  |
| 2.4.18 | All additional erection and installation services to complete the ESP. | set |  |  |  |  |
| 2.4.19 | Commissioning | set |  |  |  |  |
| 2.4.20 | Training | set |  |  |  |  |
| 2.4.21 | Documentation, O + M manuals. | set |  |  |  |  |
| 2.5 | All other services to complete the ESP. | set |  |  |  |  |
| 2.6 | Spares |  |  |  |  |  |

Table 4.1.2.1.b – Schedule of works for Unit B2

| Item | Description | Unit | Qty |  | Rate EUR |  | Amount EUR |  | Taxes and other duties |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Design |  |  |  |  |  |  |  |  |  |
| 1.1 | Data collection at site | set |  |  |  |  |  |  |  |  |
| 1.2 | Ash resistivity measurement | set |  |  |  |  |  |  |  |  |
| 1.3 | Particles size measurement | set |  |  |  |  |  |  |  |  |
| 1.4 | Basic Design | set |  |  |  |  |  |  |  |  |
| 1.5 | Detailed Engineering | set |  |  |  |  |  |  |  |  |
| 1.6 | Flue gas Computational Fluid Model (CFD) | set |  |  |  |  |  |  |  |  |
| 1.7 | …….. |  |  |  |  |  |  |  |  |  |
| 2 | Equipment |  |  |  |  |  |  |  |  |  |
| 2.1 | Mechanical |  |  |  |  |  |  |  |  |  |
| 2.1.1 | Inlet/outlet flue gas ducts and nozzles | tn |  |  |  |  |  |  |  |  |
| 2.1.2 | Flue gas flow distribution screens and guide vanes | set |  |  |  |  |  |  |  |  |
| 2.1.3 | Steel structure | tn |  |  |  |  |  |  |  |  |
| 2.1.4 | Casing extension | tn |  |  |  |  |  |  |  |  |
| 2.1.5 | Platforms, ladders, stairs, etc. | tn |  |  |  |  |  |  |  |  |
| 2.1.6 | Ash Hoppers | tn |  |  |  |  |  |  |  |  |
| 2.1.7 | Discharge Electrodes | pcs |  |  |  |  |  |  |  |  |
| 2.1.8 | Discharge Electrode Frames and supporting steel structure | tn |  |  |  |  |  |  |  |  |
| 2.1.9 | Discharge electrodes rapping system (incl. motors, gears, shafts, hammers, etc.). | set |  |  |  |  |  |  |  |  |
| 2.1.10 | Collection Electrodes: free issue - will be delivered by Beneficiary and installed by Contractor | pcs |  |  |  |  |  |  |  |  |
| 2.1.11 | Collection electrodes holding beams, rapping beams, spacers, etc. | tn |  |  |  |  |  |  |  |  |
| 2.1.12 | Collection electrodes rapping system (incl. motors, gears, shafts, hammers, etc.). | set |  |  |  |  |  |  |  |  |
| 2.1.13 | Insulators vacuum cleaning system | set |  |  |  |  |  |  |  |  |
| 2.1.14 | Insulators heating system | set |  |  |  |  |  |  |  |  |
| 2.1.15 | Ash flap valves | set |  |  |  |  |  |  |  |  |
| 2.1.16 | All additional mechanical material and equipment to complete the ESP. | set |  |  |  |  |  |  |  |  |
| 2.2 | Electrical equipment |  |  |  |  |  |  |  |  |  |
| 2.2.1 | 6,0/0,4 KV Transformer | pcs |  |  |  |  |  |  |  |  |
| 2.2.2 | 6,0 KV switchgear | set |  |  |  |  |  |  |  |  |
| 2.2.3 | 0,4 KV switchgear | set |  |  |  |  |  |  |  |  |
| 2.2.4 | Transformer-Rectifiers: Collection Electrodes: free issue - will be delivered by Beneficiary and installed by Contractor | pcs |  |  |  |  |  |  |  |  |
| 2.2.5 | HV insulators, bus bars and other related equipment | set |  |  |  |  |  |  |  |  |
| 2.2.6 | All additional electrical material and equipment to complete the ESP. | set |  |  |  |  |  |  |  |  |
| 2.3 | I + C Equipment |  |  |  |  |  |  |  |  |  |
| 2.3.1 | Control equipment cabinets | set |  |  |  |  |  |  |  |  |
| 2.3.2 | ESP voltage controllers | pcs |  |  |  |  |  |  |  |  |
| 2.3.3 | Rapping system controller | set |  |  |  |  |  |  |  |  |
| 2.3.4 | Field Instruments |  |  |  |  |  |  |  |  |  |
| 2.3.4.1 | Level transmitters | pcs |  |  |  |  |  |  |  |  |
| 2.3.4.2 | Temperature transmitters | pcs |  |  |  |  |  |  |  |  |
| 2.3.4.3 | Opacity meters | pcs |  |  |  |  |  |  |  |  |
| 2.3.5 | All additional I + C material and equipment to complete the ESP. | set |  |  |  |  |  |  |  |  |
| 2.4 | Erection and Testing Services |  |  |  |  |  |  |  |  |  |
| 2.4.1 | Dismantling Existing Equipment | Will be performed by Beneficiary |  |  |  |  |  |  |  |  |
| 2.4.2 | Civil works, reallocation of local ash control room | NA |  |  |  |  |  |  |  |  |
| 2.4.3 | Steel Structure erection | NA |  |  |  |  |  |  |  |  |
| 2.4.4 | I/O ducts, nozzles, distribution screens, baffles, guide vanes, casing, etc., erection | Will be performed by Beneficiary |  |  |  |  |  |  |  |  |
| 2.4.5 | Ash hoppers erection | set |  |  |  |  |  |  |  |  |
| 2.4.6 | Collection / Discharge electrodes, rapping systems, etc. erection | set |  |  |  |  |  |  |  |  |
| 2.4.7 | Thermal Insulation (materials included) | Will be performed by Beneficiary |  |  |  |  |  |  |  |  |
| 2.4.8 | Painting | Will be performed by the Beneficiary |  |  |  |  |  |  |  |  |
| 2.4.9 | Auxiliary systems (heating, vacuum cleaning, lifting devices, etc.) | set |  |  |  |  |  |  |  |  |
| 2.4.10 | MV, LV switchgears and transformers installation | set |  |  |  |  |  |  |  |  |
| 2.4.11 | Control cabinets installation | set |  |  |  |  |  |  |  |  |
| 2.4.12 | Interface with Unit Main Control System (DCS), (equipment included) | set |  |  |  |  |  |  |  |  |
| 2.4.13 | MV power cables installation (cables, cable trays and other installation material included) | set |  |  |  |  |  |  |  |  |
| 2.4.14 | LV power cables installation (cables, cable trays and other installation material included) | set |  |  |  |  |  |  |  |  |
| 2.4.15 | Control and measurement cables installation. (cables, cable trays and other installation material included) | set |  |  |  |  |  |  |  |  |
| 2.4.16 | Earthing system installation (cables, cable trays and other installation material included) | set |  |  |  |  |  |  |  |  |
| 2.4.17 | Refurbishment of the existing systems and equipment which will be reused. | set |  |  |  |  |  |  |  |  |
| 2.4.18 | All additional erection and installation services to complete the ESP. | set |  |  |  |  |  |  |  |  |
| 2.4.19 | Commissioning | set |  |  |  |  |  |  |  |  |
| 2.4.20 | Training | set |  |  |  |  |  |  |  |  |
| 2.4.21 | Documentation, O + M manuals. | set |  |  |  |  |  |  |  |  |
| 2.5 | All other services to complete the ESP. | set |  |  |  |  |  |  |  |  |
| 2.6 | Spares |  |  |  |  |  |  |  |  |  |

4.1.2.2 SCHEDULE OF DAYWORKS

The Tenderer shall provide details of sums intended for use in determining cost of day works in accordance with the Sub-Clause 37.5 (a) of the V2.3 General Conditions of Contract. The prices shown shall be net and the Contractor’s Percentage Fee detailed below applied to the sums stated.

| Item | Description | Unit | Qty | Rate | Amount | Taxes and other |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | EUR | EUR | duties |
| 4.1.2.2.1 | Dayworks Labour |  |  |  |  |  |
| 4.1.2.2.2 | Materials - net costs |  |  |  |  |  |
| 4.1.2.2.3 | Contractor's plant |  |  |  |  |  |
| 4.1.2.2.4 | Others: |  |  |  |  |  |
| 4.1.2.2.5 | Contractors Percentage Fee. |  |  |  |  |  |
|  | (This fee is applicable to rates detailed in this Schedule Of Dayworks only). |  |  |  |  |  |