| TECHNICAL COMPLIANCE Specific Grids |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Emission Reduction from Nikola Tesla Thermal Power Plant in Obrenovac, Units A6 and B2 Republic of Serbia |  |  |  |  |  |  |  |  |  |
| Enter Scores into Boxes in Blue |  | 1 = Yes, 0 = No |  |  |  |  |  |  |  |
| FORM No | FORM TITLE | SUB HEADING No | DESCRIPTION | Tenderer 1 | Tenderer 2 | Tenderer 3 | Tenderer 4 | Tenderer 5 | Tenderer 6 |
| 4.6.3.6 (A6) 4.6.3.7 (B2) | Plant control and instrumentation | i ii iii | Has the Tenderer provided a description of the strategy for plant control and instrumentation? Has the Tenderer provided a description of operational, engineering and diagnostic facilities? Has the Tenderer provided an Actuator list, with types? |  |  |  |  |  |  |
| 4.6.3.18. | Fire protection and detection |  | Has the Tenderer provided details of fire protection and equipment? |  |  |  |  |  |  |
| 4.6.3.8 (A6) 4.6.3.9 (B2) | Inspections, tests, commissioning and tests on completion | i ii iii | Has the Tenderer provided an outline of the commissioning proposals? Has the Tenderer explained the tests required prior to commissioning? Has the Tenderer explained the proposed methods for carrying out the tests on completion? |  |  |  |  |  |  |
| 4.6.3.4 (A6) 4.6.3.5 (B2) | Civil information | i ii iii | Has the Tenderer provided drawings showing overall layout? Has the Tenderer provided a general description of, and drawings showing the civil works? Has the Tenderer proposed provision of corrosion protection? |  |  |  |  |  |  |
| 4.6.3.1 | Design information schedule Unit A6 | i ii iii iv v vi vii viii ix | Has the Tenderer explained reasons he has/hasn't chosen the Method specified in the Employer’s Requirements technical specification? Has the Tenderer provided a schematic arrangement of fields in series and parallel? Has the Tenderer included actual and effective height of collector plate/assembly of each field? Has the Tenderer included actual and effective length in flow direction of collector plate / assembly of each field? Has the Tenderer specified the number of flue gas flow passages per precipitator casing per field? Has specified the electrodes spacing? Has the Tenderer specified the collecting plate area (both sides of plates as appropriate) of each field? Has the Tenderer specified an assumed overall effective migration velocity at design conditions? Has the Tenderer specified an assumed a flue gas forward flow velocity at design conditions? Has the Tenderer specified an assumed treatment time at design conditions? |  |  |  |  |  |  |
|  | Design information schedule | x xi xii xiii xiv xv xvi xvii xviii xix xx | Has the Tenderer included correction curves or equations to be used in the calculation of design case emission? Has the Tenderer provided a Project Program showing all boiler shutdown requirements? Has the Tenderer specified discharge and collector electrode types? Has the Tenderer specified discharge insulator arrangements? Has the Tenderer specified the insulator’s purge air and heating systems? Has the Tenderer specified the type of HV controller, pulsing capability, and extent of control room operator and engineer/ supervisor control? Has the Tenderer specified the Rapping system for plates – type of mechanisms and number of motors and the expected plate’s acceleration? Has the Tenderer specified the Rapping system for discharge electrode? E.g. type of mechanism & number of motors? Has the Tenderer specified the Capacity of hoppers in cubic meters up to design point – i.e. high level alarm or, trip or significant re-entrainment? Has the Tenderer specified the Type of hopper particulate level probe? Has the Tenderer explained the hopper emptying system – e.g. air lock valves? Has the Tenderer detailed the hopper trace heating system? |  |  |  |  |  |  |
|  |  | xxi xxii | Has the Tenderer specified the design static pressure drop from precipitator inlet test points to precipitator outlet test points? Has the Tenderer specified the expected temperature drop from precipitator inlet test points to precipitator outlet test points? |  |  |  |  |  |  |
| 4.6.3.2. | Design information schedule Unit B2 | i ii iii iv v vi vii viii ix x | Has the Tenderer explained reasons he has/hasn't chosen the Method specified in the Employer’s Requirements technical specification? Has the Tenderer provided a schematic arrangement of fields in series and parallel? Has the Tenderer included actual an effective height of collector plate/assembly of each field? Has the Tenderer included actual an effective length in flow direction of collector plate / assembly of each field? Has the Tenderer specified the number of flue gas flow passages per precipitator casing per field? Has specified the electrodes spacing? Has the Tenderer specified the collecting plate area (both sides of plates as appropriate) of each field? Has the Tenderer specified an assumed overall effective migration velocity at design conditions? Has the Tenderer specified an assumed a flue gas forward flow velocity at design conditions? Has the Tenderer specified an assumed treatment time at design conditions? Has the Tenderer provided a Project Program showing all boiler shutdown requirements? |  |  |  |  |  |  |
|  |  | xi xii xiii xiv xv xvi xvii xxiii xix xx | Has the Tenderer specified discharge and collector electrode types? Has the Tenderer specified discharge insulator arrangements? Has the Tenderer specified the insulator’s purge air and heating systems? Has the Tenderer specified the type of HV controller, pulsing capability, and extent of control room operator and engineer/ supervisor control? Has the Tenderer specified the Rapping system for plates – type of mechanisms and number of motors and the expected plates acceleration? Has the Tenderer specified the Rapping system for discharge electrode? E.g. type of mechanism & number of motors? Has the Tenderer specified the Method of replacing discharge electrode wires? Has the Tenderer specified the Type of hopper particulate level probe? Has the Tenderer detailed the hopper trace heating system Has the Tenderer specified the design static pressure drop from precipitator inlet test points to precipitator outlet test points? Has the Tenderer specified the expected temperature drop from precipitator inlet test points to precipitator outlet test points? |  |  |  |  |  |  |
| 4.6.3.3. | Compatibility with future upgrades | i ii | Has the Tenderer explained how the system will be compatible with dense ash slurry? Has the Tenderer explained how the system will be Compatible with FGD/SCR? |  |  |  |  |  |  |
| 4.6.3.17. | Program | i ii | Has the Tenderer complied with the specified end date? Has the Tenderer complied with the specified outage information |  |  |  |  |  |  |
| 4.6.4.1. | References (To be confirmed by plant owner) Reference Plant 1 | i ii iii iv v vi vii viii ix x xi | Has the Tenderer provided a Plant Name with the Unit nominal Load? Has the Tenderer provided a Year of Precipitator which is after 1980 or later? Has the Tenderer provided the information about the reference precipitator manufacturer and type? Has the Tenderer provided the information for the reference precipitator initial effective volume? Has the Tenderer provided a reference for which the fuel type is Lignite and the lignite characteristics? Has the Tenderer provided a reference for which the ash resistivity is above 1011 ohm.cm? Has the Tenderer provided a reference for which the design inlet dust burden is more than 50 g/Nm3? Has the Tenderer provided the information for the reference precipitator upgraded effective volume? Has the Tenderer provided a reference for which the collection electrodes active height is >12,0 m? Has the Tenderer provided the information for the reference precipitator collection / discharge electrodes type? Has the Tenderer provided the information for the reference precipitator enlargement or increase in height? |  |  |  |  |  |  |
|  | Reference Plant 1 (Continued) | xii xiii xiv xv xvi xvii xviii | Has the Tenderer provided the information for the reference precipitator transformer/rectifiers? Has the Tenderer provided the information for the reference precipitator controller? Has the Tenderer provided a reference for which intermittent energization or high frequency precipitator controller has been used? Has the Tenderer provided a reference for which the measured emissions are less than 50 mg/Nm3? Has the Tenderer provided a Contact Name? Has the Tenderer provided a Contact Phone number? Has the Tenderer provided Precipitator availability better than 95%? |  |  |  |  |  |  |
| 4.6.4.1. | Reference Plant 2 | i ii iii iv v vi vii | Has the Tenderer provided a Plant Name with the Unit nominal Load? Has the Tenderer provided a Year of Precipitator which is after 1980 or later? Has the Tenderer provided the information about the reference precipitator manufacturer and type? Has the Tenderer provided the information for the reference precipitator initial effective volume? Has the Tenderer provided a reference for which the fuel type is Lignite and the lignite characteristics? Has the Tenderer provided a reference for which the ash resistivity is above 1011 ohm.cm? Has the Tenderer provided a reference for which the design inlet dust burden is more than 50 g/Nm3? |  |  |  |  |  |  |
|  | Reference Plant 2 (continued) | viii ix x xi xii xiii xiv xv xvi xvii xviii | Has the Tenderer provided the information for the reference precipitator upgraded effective volume? Has the Tenderer provided a reference for which the collection electrodes active height is >12,0 m? Has the Tenderer provided the information for the reference precipitator collection / discharge electrodes type? Has the Tenderer provided the information for the reference precipitator enlargement or increase in height? Has the Tenderer provided the information for the reference precipitator transformer/rectifiers? Has the Tenderer provided the information for the reference precipitator controller? Has the Tenderer provided a reference for which intermittent energization or high frequency precipitator controller has been used? Has the Tenderer provided a reference for which the measured emissions are less than 50 mg/Nm3? Has the Tenderer provided a Contact Name? Has the Tenderer provided a Contact Phone number? Has the Tenderer provided Precipitator availability better than 95%? |  |  |  |  |  |  |
| 4.6.4.1. | Reference Plant 3 | i ii iii iv v vi vii viii ix x xi xii xiii xiv xv | Has the Tenderer provided a Plant Name with the Unit nominal Load? Has the Tenderer provided a Year of Precipitator which is after 1980 or later? Has the Tenderer provided the information about the reference precipitator manufacturer and type? Has the Tenderer provided the information for the reference precipitator initial effective volume? Has the Tenderer provided a reference for which the fuel type is Lignite and the lignite characteristics? Has the Tenderer provided a reference for which the ash resistivity is above 1011 ohm.cm? Has the Tenderer provided a reference for which the design inlet dust burden is more than 50 g/Nm3? Has the Tenderer provided the information for the reference precipitator upgraded effective volume? Has the Tenderer provided a reference for which the collection electrodes active height is >12,0 m? Has the Tenderer provided the information for the reference precipitator collection / discharge electrodes type? Has the Tenderer provided the information for the reference precipitator enlargement or increase in height? Has the Tenderer provided the information for the reference precipitator transformer/rectifiers? Has the Tenderer provided the information for the reference precipitator controller? Has the Tenderer provided a reference for which intermittent energization or high frequency precipitator controller has been used? Has the Tenderer provided a reference for which the measured emissions are less than 50 mg/Nm3? |  |  |  |  |  |  |
|  |  | xvi xvii xviii | Has the Tenderer provided a Contact Name? Has the Tenderer provided Precipitator availability better than 95%? Has the Tenderer provided precipitator breakdown problems during warrantee period? |  |  |  |  |  |  |